## BAS ACRONYM LEGEND
DESCRIPTOR | MEANING
ACC | ACCLERATOR
AFM | AIR FLOW MONITOR
AH | AIR HANDLER
AHU | AIR HANDLING UNIT
AIR | AIR
ALM | ALARM
ALT | ALTERNATOR
ANI | ANIMAL
BAT | BATTERY
BEARG | BEARING
BELL | BELL
BKUP | BACKUP
BLDG | BUILDING
BLR | BOILER
BYP | BYPASS
CAMP | CAMPUS
CFM | CUBIC FEET PER MINUTE
CH | CHILLED
CHEM | CHEMICAL
CHLR | CHILLER
CHW | CHILLED WATER
CL | COOL/COOLING
CLD | COLD
CLS | CLOSED
CMD | COMMAND
COIL | COIL
COL | COLUMN
COND | CONDENSER
CONV | CONVERTER
COS | CHANGE OF STATE
COV | CHANGE OF VALVE
CP | CHILLER PLANT
CPU | CENTRAL PROCESSING UNIT
CSTE | CONDENSATE
CTLR | CONTROLLER
CTRL | CONTROL
DAT | DISCHARGE AIR TEMPERATURE
DAY | DAY
DC | DUST COLLECTOR
DCK | DECK
DCT | DUCT
DCW | DOMESTIC COLD WATER SYSTEM
DDC | DIRECT DIGITAL CONTROL
DEG F | DEGREES FAHRENHEIT
DEM | DEMAND
DHW | DOMESTIC HOT WATER SYSTEM
DIF | DIFFERENTIAL
DISCH | DISCHARGE
DIST | DISTRIBUTION
DMPR | DAMPERS
DOM | DOMESTIC WATER
DP | DIFFERENTIAL PRESSURE
DSP | DUCT STATIC PRESSURE
DV | DRIVE
DX | DIRECT EXPANSION
E | EAST
EAD | EXHAUST AIR DAMPER
EAT | EXHAUST AIR TEMPERATURE
EF | EXHAUST FAN
ELEV | ELEVATOR
EM | EMERGENCY
ENA | ENABLE
ENT | ENTERING
EWT | ENTERING WATER TEMPERATURE
EXH | EXHAUST
FAN | FAN
FBD | FACE AND BYPASS DAMPER
FIRE | FIRE
FLO | FLOW
FLT | FILTER
FRZ | FREEZE
FRZR | FREEZER
FSP | FAN STATIC PRESSURE
FT | FEET
GAL | GALLONS
GPM | GALLONS PER MINUTE
HDR | HEADER
HEPA | HEPA
HI | HIGH
HR | HEAT RECOVERY
HRS | HOURS
HSE | HOUSE
HT | HEAT/HEATING
HTCL | HEATING/COOLING
HTW | HOT WATER
HUMID | HUMIDITY
HVAC | HEATING VENTILATING AND AIR CONDITIONING
HX | HEAT EXHANGER
IGV | INLET GUIDE VAIN
IN | INCHES
IND | INDICATOR
INLET | INLET
INT | INTERFACE
ISO | ISOLATION
LAT | LEAVING AIR TEMPERATURE
LCKT | LOCKOUT
LD | LOAD
LIM | LIMIT
LIN | LINEAR
LOALM | LOW LEVEL ALARM
LOCAL | Local
LOG | LOGICAL
LOW | LOW
LP | LOOP
LPS | LOW PRESSURE STEAM
LTD | LOW TEMP DETECTOR
LU | LIBERT UNIT
LVL | LEVEL
LWT | LEAVING WATER TEMPERATURE
MA | MILLIAMPERE
MAD | MIXED AIR DAMPER
MAM | MIXED AIR MINIMUM
MAT | MIXED AIR TEMPERATURE
MAX | MAXIMUM
MECH | MECHANICAL
MIN | MINIMUM
MLT | MELT
MOD | MODE
MON | MONITOR
MTR | METER
MU | MAKEUP UNIT
MXAIR | MIXED AIR
N | NORTH
NECROP | NECROPSY
NGT | NIGHT
OAD | OUTSIDE AIR DAMPER
OCC | OCCUPIED MODE
OFF | OFF
OIP | OPERATOR INTERFACE PROGRAM
ON | ON
OOS | OUT OF SERVICE
OP | OPERATOR
OSA | OUTSIDE AIR
OT | OUT
OUT | OUTPUT
OVRD | OVER RIDE
PANL | PANEL
PCT | PERCENT
PCW | PROCESS CHILLED WATER SYSTEM
PHT | PREHEAT
PLNT | PLANT
PMP | PUMP
POSIT | POSITION
PRESS | PRESSURE
PRF | PROOF
PSI | POUNDS PER SQUARE INCH
PT | POINT
R | RETURN
RAD | RETURN AIR DAMPER
RAT | RETURN AIR TEMPERATURE
RCHRG | RECHARGE
RCLM | RECLAIM
RCU | REMOTE CONTROL UNIT
RECR | RECIRCULATING
RF | RETURN FAN
RH | RELATIVE HUMIDITY
RHT | REHEAT
RLSE | RELEASE
RM | ROOM
RST | RESET
S | SOUTH
SAND | SAND
SAT | SUPPLY AIR TEMPERATURE
SCU | STAND-ALONE CONTROL UNIT
SEA | SEASON
SF | SUPPLY FAN
SHD | SHED
SHNT | SHUNT
SHUTDWN | SHUTDOWN
SHWR | SHOWER
SIG | SIGNAL
SMK | SMOKE
SNW | SNOW
SPT | SETPOINT
SS | START STOP
STAT | STATIC
STM | STEAM
STOR | STORAGE
STS | STATUS
SUP | SUPPLY
SV | SOLENOID VALVE
SW | SWITCH
SYS | SYSTEM
TEL | TELEPHONE
TES | TEST
TIMR | TIMER
TNK | TANK
TOT | TOTAL
TP | TEMPERATURE
TRB | TROUBLE
TRG | TRIGGER
TRP | TRIP
TWR | TOWER
UNOCC | UNOCCUPIED
UP | UP
UPS | UNINTERRUPTABLE POWER SUPPLY
VEL | VELOCITY
VFD | VARIABLE FREQUENCY DRIVE
VIRT | VIRTUAL
VLV | VALVE
VNT | VENT
VOL | VOLUME
VP | VELOCITY POINT
W | WEST
WTR | WATER
ZN | ZONE