# STANDARD OPERATING PROCEDURE

## Acridine Orange

*Delete items in red after you have added all your lab-specific information. Modify general information as needed.

| 1. LAB INFORMATION | Building: Room(s): Department: Principal Investigator Name: Procedure: |
| --- | --- |
| 2. PHYSICAL & HEALTH HAZARDS | Acridine Orange – CAS# 494-38-2; also known as Acridine Orange Base; 3,6-Bis(dimethylamino)acridine; Solvent Orange 15 is a fluorescent nucleic acid binding dye which interacts with both DNA and RNA. - May cause irritation. - Classified as IARC Group 3: Not classifiable as to its carcinogenicity in humans. - Suspected of being of a mutagen, but no conclusive evidence in humans has been shown. Exposure Limits: No occupational exposure limits have been established for this chemical. This does not mean that this substance is not harmful. Safe work practices should always be followed. *Always refer to the Safety Data Sheet for the most detailed information* |
| 3. TRAINER / RESOURCE PERSONNEL | Principal Investigator must guarantee all laboratory personnel receive training on the content of this SOP. Principal Investigator Name, Building, Room, Phone Number Secondary contact Name, Building, Room, Phone Number |
| - LOCATION OF HEALTH & SAFETY INFORMATION | The Safety Data Sheet (SDS) for acridine orange must be available at all times to all personnel working in the laboratory. The SDS used in this laboratory are located in Building, Room and/or Electronic Location. Labeling: Acridine orange containers shall either have original manufacturer’s label affixed or a self-made workplace label identifying the contents and hazards of the chemical at the minimum. Chemical abbreviations and formulae should be avoided unless a legend is present in the lab. For information on workplace labels, see https://ehs.wsu.edu/ohs-chemhazardcommunication/ohs-workplacelabels/. |
| - PROTECTIVE EQUIPMENT | Wear nitrile rubber gloves, ANSI approved safety glasses with side shields or chemical splash goggles, and a fully buttoned lab coat at the minimum. It is good practice to wash hands immediately after removing gloves. - Note: Always consult with your glove manufacturer’s glove compatibility chart to ensure selected gloves are compatible with specific chemical being used. Insert lab specific information on personal protective equipment required for use. Working with acridine orange within a properly functioning, face velocity certified laboratory chemical fume hood is recommended, but not required. Other chemicals used in conjunction with acridine orange may require the use of a fume hood. Insert lab specific information on ventilation controls and equipment used to control exposure. |
| - WASTE DISPOSAL PROCEDURES | Waste Acridine orange must be managed as a Dangerous Waste and should be collected in a compatible container (e.g. a polyethylene container provided by EH&S). Specialized waste containers and/or lids may be required for comingled wastes where reactions may generate heat or pressure. Waste containers should be stored away from incompatible materials (reference Section 10 of the SDS for incompatible materials). A completed Dangerous Waste label must be attached to dangerous waste containers before waste is added. When the container is full or no longer being used, submit an online Chemical Collection Request Form, and deliver to the Waste Accumulation Area Operator (if applicable) at Building, Room, Phone Number. Dangerous waste information and instructions can be found at the following link: https://ehs.wsu.edu/Chemical-Waste/ Do not dispose of acridine orange wastes down the drain or in the regular waste stream. For assistance evaluating dangerous waste collection, contact EH&S https://ehs.wsu.edu/contact-information/. Insert lab specific information on acridine orange waste collection procedures, location, storage and handling. |
| - DESIGNATED AREA INFORMATION | Acridine orange is stored and dispensed in Building, Room. A designated area is not required for acridine orange. The designated storage and use area(s) should be shown on the floor plan in your laboratory’s Chemical Hygiene Plan (if applicable). |
| - DECONTAMINATION PROCEDURES | Upon Accidental Exposure: In case of eye contact, flush eyes with copious amounts of water at an emergency eyewash station for at least 15 minutes. Seek medical attention if symptoms persist. In case of skin contact, flush skin with copious amounts of water for 15 minutes. Seek medical attention if symptoms persist. For exposure over a large portion of the body, remove clothing and shoes and rinse thoroughly in an emergency shower for at least 15 minutes. Seek medical attention if symptoms persist. In case of inhalation, move person to fresh air. Seek medical attention if symptoms persist. In case of ingestion, rinse mouth with plenty of water. Do not induce vomiting. Seek medical attention if symptoms persist and follow instructions on SDS. Upon Accidental Release: Large Release: If a significant amount of acridine orange is spilled outside the fume hood and it would take more than 10 minutes to clean up, secure the area, evacuate and call EH&S at 509-335-3041 for assistance. Small Release: If a small amount of acridine orange is spilled (it can be cleaned up in 10 minutes) and you have been appropriately trained to clean it up, you may do so. Trained personnel shall wear nitrile gloves, safety glasses with side shields or chemical splash goggles, and a fully-buttoned lab coat. If material is liquid, absorb with an inert material. If material is solid, sweep up carefully with spark-resistant tools and avoid generating dust. Place material in an appropriate waste disposal container (resealable bag, etc.) and dispose of as dangerous waste (see Section 6: WASTE DISPOSAL PROCEDURES). After excess material has been removed, finish decontamination of surfaces with a soap and water solution. Additional PPE such as respirators may be necessary depending upon material and concentration. You must be medically cleared, fit tested and enrolled in WSU’s respiratory protection program to wear a respirator. If it is necessary to use a respirator and personnel are not cleared to wear a respirator and not trained to appropriately clean up the spill, the employee should immediately evacuate, secure area, and follow the large release instructions above. Insert lab specific information on acridine orange spill cleanup procedures and applicable location specific emergency procedures. |
| - SPECIAL STORAGE AND HANDLING PROCEDURES | - Store acridine orange containers upright in a secured, cool, dry, well-ventilated area away from direct sunlight, heat, sparks, flame, or other sources of ignition. - Store in tightly closed original container until ready for use. Containers should be in good condition and compatible with material. - Avoid incompatible chemicals such as strong oxidizing agents (refer to Section 10 of SDS). If storage space is limited, use secondary containment such as a Nalgene/polypropylene tubs. Insert additional lab specific information acridine orange controls. |

- Certificate of Employee Training

The Principal Investigator must certify that they have provided training to lab personnel on the content of this SOP before work with Acridine Orange is performed.

| PI Name | PI Signature | Date |
| --- | --- | --- |

The following individuals attest that they have received training from the Principal Investigator on the content of this SOP.

| Name | Signature | Date |
| --- | --- | --- |