# STANDARD OPERATING PROCEDURE

## Aqua Regia

*Delete items in red after you have added all your lab-specific information. Modify general information as needed.

| 1. LAB INFORMATION | Building: Room(s): Department: Principal Investigator Name: Procedure: |
| --- | --- |
| 2. PHYSICAL & HEALTH HAZARDS | Aqua Regia (Latin for “Royal Water”) is a fuming, yellow, highly corrosive, and strongly oxidizing solution that is best known for its ability to dissolve gold, platinum, and palladium. It is commonly used to remove a wide variety of inorganic or trace organic contaminants from laboratory glassware or noble metal substrates, as in microfabrications and microelectronics labs. Aqua Regia is usually formulated as a 1:3 (v/v) mixture of concentrated nitric acid (HNO3, ≤70%, CAS 7697-37-2) and hydrochloric acid (HCl, ≤37%, CAS 7647-01-0). Once mixed, Aqua Regia solutions will begin decomposing to release acutely toxic gaseous products such as nitrosyl chloride (NOCl), chlorine (Cl2), nitric oxide (NO), and nitrogen dioxide (NO2). Aqua Regia will self-heat when freshly mixed, which may lead to severe chemical or thermal burns on contact and can undergo violent exothermic reactions with organic compounds and other flammable materials. Aqua Regia must be handled with extreme caution, and safe use requires the consideration of both health and physical hazards. - Aqua Regia is highly corrosive and a strong oxidizer, contact with other material may cause or intensify fire. - Dermal and/or eye exposure will cause itching, redness, burns, inflammation, swelling, and/or serious tissue damage and immediate pain upon contact. May cause blindness. - Toxic by inhalation; will cause irritation of the respiratory tract including nose, throat, and lungs. Strongly corrosive vapors are extremely destructive to the tissue of the mucous membranes and upper respiratory tract and cause burning pain in the nose and throat, coughing, wheezing, shortness of breath and pulmonary edema. Fumes can suffocate. - Harmful if swallowed; causes severe and rapid burns of the mouth, esophagus, and gastrointestinal tract, causing burning, choking, nausea, vomiting, severe pain, and possibly death. - The severity of damage is determined by the dose, duration of exposure, and the body parts contacted. - Gas evolution may lead to a build-up of pressure that could cause a sealed container to fail catastrophically. GHS hazard pictograms Signal Word: DANGER DOSH Exposure Limits: Nitric Acid: TWA: 2 ppm; STEL: 4 ppm Hydrochloric Acid: CEIL: 5 ppm *Always refer to the Safety Data Sheet for the most detailed information* |
| 3. TRAINER / RESOURCE PERSONNEL | Principal Investigator must guarantee all laboratory personnel receive training on the content of this SOP. Principal Investigator Name, Building, Room, Phone Number Secondary contact Name, Building, Room, Phone Number |
| - LOCATION OF HEALTH & SAFETY INFORMATION | Safety Data Sheets (SDS) for Aqua Regia must be available at all times to all personnel working in the laboratory. The SDS used in this laboratory are located in Building, Room and/or Electronic Location. Labeling: Aqua Regia containers shall have a workplace label identifying the contents, composition and hazards of the chemical at the minimum, in this case extremely corrosive and oxidizer. Chemical abbreviations and formulae should be avoided unless a legend is present in the lab. For information on workplace labels, see https://ehs.wsu.edu/ohs-chemhazardcommunication/ohs-workplacelabels/. |
| - PROTECTIVE EQUIPMENT | Eye Protection: At minimum, wear ANSI approved safety glasses when properly working behind a fume hood’s lowered protective sash and when using small quantities of Aqua Regia (<500 mL). Wear ANSI approved chemical splash goggles when working with larger quantities (≥500 mL) and when splash and/or aerosol generation is anticipated to be a hazard. A full-face shield is also appropriate to be worn when splashes are anticipated. Hand Protection: Wear two sets of chemical-resistant gloves (known as “double-gloving”), such as disposable Nitrile gloves, to work with small volumes of Aqua Regia (<500 mL). When working with larger volumes (≥500 mL), wear an outer layer of thick cut (≥10 mil), extended cuff gloves such as butyl rubber, Viton, or equivalent. A single layer of disposable Nitrile gloves is not appropriate for working with Aqua Regia and will not provide sufficient protection. Inspect gloves prior to use for signs of damage (e.g. pinholes, tears, cracks) and do not use them if they are damaged. Always wash hands immediately after handling Aqua Regia and removing gloves. - Note: Always consult your glove manufacturer’s glove compatibility chart to ensure selected gloves are compatible with specific chemical being used. Skin/Body Protection: Wear a fully buttoned lab coat, full length pants and close-toed shoes at minimum. Wear a flame-resistant lab coat if a fire hazard exists. Some FR fabrics (e.g., Nomex®, Rhovyl®, Kevlar®, etc.) are highly permeable and do not provide good chemical/acid resistance. When handling larger quantities of Aqua Regia (≥500 mL), wear an acid-resistant apron and disposable sleeves. Insert lab specific information on personal protective equipment required for use. Always work with Aqua Regia within a properly functioning, face velocity certified laboratory chemical fume hood. The sash must be kept as low as possible to prevent the release of toxic gases and positioned between the researcher and the Aqua Regia solution to minimize potential injuries resulting from splashing of the solution. Insert lab specific information on ventilation controls and equipment used to control exposure. If it is necessary to use Aqua Regia outside of a chemical fume hood, all engineering and administrative controls must be exhausted first as respiratory protection is a last line of defense and generally only used in chemical spill cleanup situations. Respiratory protection requires affected personnel to be medically cleared, fit tested and enrolled in WSU’s Respiratory Protection Program (RPP). |
| - WASTE DISPOSAL PROCEDURES | Waste Aqua Regia must be managed as a Dangerous Waste. Allow solutions to cool and degas fully, uncapped, before disposal of waste. Waste should be stored in a clean glass bottle, appropriately labeled, with a pressure venting cap. Aqua regia should be disposed of alone with its own dedicated container; never put solution into a waste container with other materials, as a violent reaction could occur. Ensure that the waste container you are using is clean, dry, and does not have residual solvent or other organic materials in it. The spent solution should still be considered an oxidizer, and therefore the waste should be stored away from incompatible materials (e.g. organics, bases). Reference Section 10 of the SDS for incompatible materials. The authorized person using this material is responsible for the safe collection, preparation and proper disposal of waste unless otherwise stated below. A completed Dangerous Waste label must be attached to dangerous waste containers before waste is added. When the container is full or no longer being used, submit an online Chemical Collection Request Form, and deliver to the Waste Accumulation Area Operator (if applicable) at Building, Room, Phone Number. Dangerous waste information and instructions can be found at the following link: https://ehs.wsu.edu/Chemical-Waste/ If the solution has a pH between 6 and 9 and does not meet the definition of toxic in WAC 173-303-100 or exhibit other dangerous waste characteristics, it MAY be able to be drain discharged/disposed. For assistance evaluating dangerous waste characteristics, contact EH&S https://ehs.wsu.edu/contact-information/. Do not neutralize dangerous wastes for disposal, this may only be done at permitted treatment and disposal facilities. Insert lab specific information on Aqua Regia waste collection procedures, location, storage and handling. |
| - DESIGNATED AREA INFORMATION | Aqua Regia is prepared and used in Building, Room. Confine all work with Aqua Regia to a properly functioning certified laboratory chemical fume hood, which will act as the designated area. Never remove hot Aqua regia from the fume hood. The designated storage and use area(s) should be shown on the floor plan in your laboratory’s Chemical Hygiene Plan. Designated Areas: A designated area shall be established where limited access, special procedures, knowledge, and work skills are required. A designated area can be the entire laboratory, a specific laboratory workbench, or a laboratory hood. Designated areas must be clearly marked with signs that identify the chemical hazard and include an appropriate warning; for example: WARNING! AQUA REGIA WORK AREA – EXTREMELY CORROSIVE & OXIDIZER. - Upon leaving the designated area, remove any personal protective equipment worn and wash your hands with soap and water. - After each use (or day), wipe down the immediate work area and equipment to prevent accumulation of chemical residue. - At the end of each project, thoroughly decontaminate the designated area before resuming normal laboratory work in the area. Insert lab specific information on Aqua Regia storage and use locations. |
| - DECONTAMINATION PROCEDURES | Upon Accidental Exposure: In case of eye contact, flush your eyes with copious amounts of water at an emergency eyewash station for at least 15 minutes and immediately seek medical attention. In case of skin contact, flush your skin with copious amounts of water for 15 minutes and immediately seek medical attention. For exposure over a large portion of the body, remove clothing and shoes and rinse thoroughly in an emergency shower for at least 15 minutes and immediately seek medical attention. In case of inhalation, move the person to fresh air and immediately seek medical attention. In case of ingestion, immediately seek medical attention and follow instructions on SDS. Do NOT induce vomiting. Upon Accidental Release: Large Release: If a significant amount of Aqua Regia is spilled inside the fume hood (≥500 mL) or ANY amount is spilled outside the fume hood, immediately evacuate, secure area, notify others in the vicinity, and call 911 if there is an immediate threat of fire or the spill is uncontained. If personnel are exposed and need medical attention, call 911. If the spill is contained, secure the area, evacuate and call EH&S at 509-335-9000. Small Release: If a small amount of Aqua Regia (<500 mL) is spilled inside the fume hood (it can be cleaned up in 10 minutes) and you have been appropriately trained to clean it up, you may do so. Trained personnel shall wear the PPE listed in SECTION 5: PROTECTIVE EQUIPMENT. Absorb excess solution inside fume hood with an inert dry material such as PIG absorbent pads, then neutralize remaining residue with sodium bicarbonate. Place cleanup materials in an appropriate waste disposal container (resealable bag, etc.) and dispose of as dangerous waste (see Section 6: WASTE DISPOSAL PROCEDURES). Finish decontamination of surfaces with a soap and water solution. Additional PPE such as respirators may be necessary depending upon material and concentration. You must be medically cleared, fit tested and enrolled in WSU’s respiratory protection program to wear a respirator. If it is necessary to use a respirator and personnel are not cleared to wear a respirator and not trained to appropriately clean up the spill, the employee should immediately evacuate, secure area, and follow the large release instructions above. Insert lab specific information on Aqua Regia spill cleanup procedures and applicable location specific emergency procedures. |
| - SPECIAL STORAGE AND HANDLING PROCEDURES | - Do NOT store Aqua Regia solutions. Prepare a fresh solution for each use and only as much as needed for the specific use. It quickly loses its effectiveness due to oxidation of its reactive components. - Whenever preparing/handling Aqua Regia, clean and dry glass containers (preferably borosilicate such as Pyrex) in good condition should be used. Aqua Regia will melt some plastics and corrode most metals. Secondary containment (e.g., a large polypropylene or polyethylene tray) shall be used for all Aqua Regia work. - Make the smallest practical quantities needed for daily use for the experiment being performed. - Always add nitric acid (HNO3) to hydrochloric acid (HCl) and not the opposite. Perform the addition slowly to prevent uncontrolled boiling and potential splashing. - Aqua regia solution is very energetic and potentially explosive. It is very likely to become hot, up to 100°C (212°F). Handle with care, using tongs or hot mitts to handle containers when necessary. - Adding any acids, bases, or organic compounds to aqua regia or spraying it with water will accelerate the exothermic reaction and can lead to an explosion. - Never store Aqua Regia in a closed container without a venting cap. It will oxidize over time to form toxic nitrosyl chloride, nitrogen dioxide and chlorine gases. This will pressurize the container, likely causing an explosion. All waste bottles shall have a vented cap. - Aqua Regia must not be handled while working alone. - Leave hot Aqua Regia solution in the fume hood in a labeled open container until cool (usually overnight). Cool Aqua Regia will not be bubbling. - A warning sign must be posted to indicate Aqua Regia is being used. - If something needs to soak overnight, clearly label “Aqua Regia, Extremely Corrosive and Oxidizing!” - A properly functioning emergency eyewash must be present in the laboratory and safety shower must be available within 10 seconds and 50 feet of travel. - Do not remove Aqua Regia in any form (new, in-use, waste) from the fume hood where it was generated. - No other work should be performed in the fume hood whenever active Aqua Regia is present. - Organic compounds and flammable materials should be removed from the fume hood before working with Aqua Regia. Insert additional lab specific information on Aqua Regia controls. |

- Certificate of Employee Training

The Principal Investigator must certify that they have provided training to lab personnel on the content of this SOP before work with Aqua Regia is performed.

| PI Name | PI Signature | Date |
| --- | --- | --- |

The following individuals attest that they have received training from the Principal Investigator on the content of this SOP.

| Name | Signature | Date |
| --- | --- | --- |