Good lab housekeeping reduces 
the number of accidents, minimize risks 
& consequences of slips, trips, falls, 
unplanned reactions and fire.

Space is always at a premium. Don’t be a hoarder!

- Reducing clutter provides more space for critical research materials, making it safer to move around the lab without 
tripping or potential chemical/biological exposure.

- Limiting or reducing flammable materials like paper or cardboard reduces the risk of fire.

- Never block emergency exits, fire extinguishers, safety showers, eyewashes, or electrical panels.

- Consider scheduling frequent lab clean-out days (at least quarterly). Inspections help keep the lab space clean and pristine. Establishing an internal inspections program improves the lab safety culture.

- Periodically thaw freezers.

Environmental Health & Safety • ehs@wsu.edu • 509-335-3041

Make arrangements to service, maintain or remove broken equipment.