# STANDARD OPERATING PROCEDURE

## Ethidium Bromide

*Delete items in red after you have added all your lab-specific information. Modify general information as needed.

| 1. LAB INFORMATION | Building: Room(s): Department: Principal Investigator Name: Procedure: |
| --- | --- |
| 2. PHYSICAL & HEALTH HAZARDS | Ethidium Bromide – CAS# 1239-45-8; also known as homidium bromide; EtBr; 3,8-Diamino-5-ethyl-6-phenylphenanthridinium bromide is a red to purple powder fluorescent dye widely used in molecular biology research techniques such as agarose gel electrophoresis. Early usage was as a veterinary trypanocide. It is a mutagenic compound that intercalates double-stranded DNA and RNA. - Moderately toxic after acute exposure. - Suspected of causing genetic defects. Considered a potent mutagen. - Should be considered a possible carcinogen and reproductive toxin, though no conclusive evidence has been shown. - Irritating to the skin, eyes, mucous membranes and respiratory tract. - Skin contact may cause inflammation and discoloration. - May be absorbed through the skin. Contact will stain the skin purple. GHS hazard pictograms Signal Word: DANGER - Hazards may be different depending on the form of the material such as dust, liquid, gel and also the concentration. - Materials containing less than 0.1% of Ethidium Bromide will not require the same precautions as substances containing larger concentrations. Exposure Limits: No occupational exposure limits have been established for this chemical. This does not mean that this substance is not harmful. The hazards of this chemical should be fully understood before beginning work and safe work practices should always be followed. All contact with this chemical should be reduced to the lowest possible level. Toxicological Data: ORAL (LD50): 1,503 - 2,177 mg/kg [Rat] SUBCUTANEOUS (LD50): 110 mg/kg [Mouse] INTRAVENOUS (LD50): 16 mg/kg [Rat] INHALATION (LC50): 0.0118 - 0.134 mg/l 1 hour [Rat] *Always refer to the Safety Data Sheet for the most detailed information* |
| 3. TRAINER / RESOURCE PERSONNEL | Principal Investigator must guarantee all laboratory personnel receive training on the content of this SOP. Principal Investigator Name, Building, Room, Phone Number Secondary contact Name, Building, Room, Phone Number |
| - LOCATION OF HEALTH & SAFETY INFORMATION | The Safety Data Sheet (SDS) for ethidium bromide must be available at all times to all personnel working in the laboratory. The SDS used in this laboratory are located in Building, Room and/or Electronic Location. Labeling: Ethidium bromide containers shall either have original manufacturer’s label affixed or a self-made workplace label identifying the contents and hazards of the chemical at the minimum, in this case mutagenic and toxic. Chemical abbreviations and formulae should be avoided unless a legend is present in the lab. For information on workplace labels, see https://ehs.wsu.edu/ohs-chemhazardcommunication/ohs-workplacelabels/. |
| 5. PROTECTIVE EQUIPMENT | Wear nitrile rubber gloves, ANSI approved chemical splash goggles, and a fully buttoned lab coat at the minimum. ANSI approved safety glasses may be appropriate when properly working behind a fume hood’s protective sash. Double gloving is recommended. Change gloves immediately if contaminated or at least every 2 hours. Wash hands at time of glove change, even if no puncture was observed. Some particularly hazardous substances have the potential to penetrate gloves. Review the chemical SDS and glove compatibility chart to identify the ideal glove material to use. When working with particularly hazardous substances with an increased risk of splash or spill exposure (e.g. transfers from a larger container), consider siphon transfer for improved control or additional PPE, such as thick-cut nitrile or equivalent gloves, face shield and a chemical-resistant apron. Wash hands immediately after handling ethidium bromide and removing gloves. - Note: Always consult with your glove manufacturer’s glove compatibility chart to ensure selected gloves are compatible with specific chemical being used. Full length pants and close-toed shoes are required to be worn at all times. Insert lab specific information on personal protective equipment required for use. Always work with ethidium bromide concentrations greater than 0.1% within a properly functioning, face velocity certified laboratory chemical fume hood. Insert lab specific information on ventilation controls and equipment used to control exposure. If particularly hazardous substances such as ethidium bromide are used outside of a chemical fume hood, respiratory protection may be required which require affected personnel to be medically cleared, fit tested and enrolled in WSU’s Respiratory Protection Program (RPP). |
| - WASTE DISPOSAL PROCEDURES | Waste Ethidium Bromide compounds must be managed as a Dangerous Waste and should be collected in a compatible container (e.g. a polyethylene container provided by EH&S). Specialized waste containers and/or lids may be required for comingled wastes where reactions may generate heat or pressure. Waste containers should be stored away from incompatible materials (reference Section 10 of the SDS for incompatible materials). The authorized person using this material is responsible for the safe collection, preparation and proper disposal of waste unless otherwise stated below. Waste buffer solutions and other dilute aqueous solutions containing very low concentrations (less than 0.1%) of ethidium bromide may be discharged to sinks. Waste stock solutions, crystals, gels and powders containing ethidium bromide at concentrations greater than 0.1% should be collected in a waste container. A properly completed Dangerous Waste label should be attached when waste is first added to the container. Gels (non-flow solid gel) and Contaminated debris (e.g., gloves, mats, tips, etc.) solids containing very low concentrations of ethidium bromide (less than 0.1%) or debris that has been in contact with ethidium bromide in low concentrations (less than 0.1%) should be disposed by methods which prevent individuals handling waste from subsequent contact. Double bag contaminated materials, or any waste that has been in contact with ethidium bromide and dispose of as standard landfill waste. Biological Waste - Ethidium bromide of concentrations less than 0.1% exposed to any biological hazards or rDNA must be collected, stored, and managed as biological waste. Do not autoclave or mix with chemical disinfectants to decontaminate biological hazard or rDNA as harmful bi-products may be generated. Dispose as biohazardous waste. If ethidium bromide concentration is greater than 0.1% call EH&S for assistance. A completed Dangerous Waste label must be attached to dangerous waste containers before waste is added. When the container is full or no longer being used, submit an online Chemical Collection Request Form, and deliver to the Waste Accumulation Area Operator (if applicable) at Building, Room, Phone Number. Dangerous waste information and instructions can be found at the following link: https://ehs.wsu.edu/Chemical-Waste/ Do not dispose of ethidium bromide wastes down the drain or in the regular waste stream. Dispose of any expired or unnecessary ethidium bromide as dangerous waste. For assistance evaluating dangerous waste collection, contact EH&S https://ehs.wsu.edu/contact-information/. Insert lab specific information on ethidium bromide waste collection procedures, location, storage and handling. |
| - DESIGNATED AREA INFORMATION | Ethidium bromide is stored and dispensed in Building, Room. The designated storage and use area(s) should be shown on the floor plan in your laboratory’s Chemical Hygiene Plan. Designated Areas: For use of particularly hazardous substances such as ethidium bromide, a designated area shall be established where limited access, special procedures, knowledge, and work skills are required. A designated area can be the entire laboratory, a specific laboratory workbench, or a laboratory hood. Designated areas must be clearly marked with signs that identify the chemical hazard and include an appropriate warning; for example: WARNING! ETHIDIUM BROMIDE WORK AREA – MUTAGEN; TOXIC. - Upon leaving the designated area, remove any personal protective equipment worn and wash hands with soap and water. - After each use (or day), wipe down the immediate work area and equipment to prevent accumulation of chemical residue. - At the end of each project, thoroughly decontaminate the designated area before resuming normal laboratory work in the area. Insert lab specific information on ethidium bromide storage and use locations. |
| 8. DECONTAMINATION PROCEDURES | Upon Accidental Exposure: In case of eye contact, flush eyes with copious amounts of water at an emergency eyewash station for at least 15 minutes and consult a physician. In case of skin contact, flush skin with copious amounts of water for 15 minutes and consult a physician. For exposure over a large portion of the body, remove clothing and shoes and rinse thoroughly in an emergency shower for at least 15 minutes. Seek medical attention. In case of inhalation, move person to fresh air and seek medical attention. In case of ingestion, immediately seek medical attention and follow instructions on SDS. Upon Accidental Release: Large Release: If a significant amount of ethidium bromide is spilled outside the fume hood, immediately evacuate, secure area, notify others in the vicinity, and call 911 if there is an immediate threat of fire or the spill is uncontained. If personnel are exposed and need medical attention, call 911. If the spill is contained, secure the area, evacuate and call EH&S at 509-335-3041. Small Release: If a small amount of ethidium bromide is released (it can be cleaned up in 10 minutes) and you have been appropriately trained to clean it up, you may do so. Trained personnel shall wear nitrile gloves, chemical splash goggles, and a fully-buttoned lab coat. Spills of ethidium bromide should be cleaned by absorbing the spill using a preprepared hypophosphorous decontamination solution. Bleach is not considered adequate for ethidium bromide decontamination. Rinse the area five times and place waste in appropriate containers and dispose of as hazardous waste (see Section 6: WASTE DISPOSAL PROCEDURES). Additional PPE such as respirators may be necessary depending upon material and concentration. You must be medically cleared, fit tested and enrolled in WSU’s respiratory protection program to wear a respirator. If it is necessary to use a respirator and personnel are not cleared to wear a respirator and not trained to appropriately clean up the spill, the employee should immediately evacuate, secure area, and follow the large release instructions above. Insert lab specific information on ethidium bromide spill cleanup procedures and applicable location specific emergency procedures. |
| - SPECIAL STORAGE AND HANDLING PROCEDURES | - Store ethidium bromide containers upright in a designated, labeled area such as a chemical storage cabinet. Secondary containment such as a Nalgene/polypropylene tub is recommended. Ethidium bromide solutions should always be stored below eye level. Storage area should be a secured, cool and well-ventilated area away from direct sunlight, heat, sparks, flame, or other sources of ignition. Consider storing ethidium bromide in a locked storage cabinet. - Store ethidium bromide in a designated, labeled, secure storage area away from other types of chemicals. Avoid incompatible chemicals such as strong oxidizing agents (refer to Section 10 of SDS). If storage space is limited, use secondary containment such as a Nalgene/polypropylene tubs. - All areas where ethidium bromide is stored or manipulated must be labeled as a designated area (see Section 7: DESIGNATED AREA INFORMATION). - Store in tightly closed original container until ready for use. Immediately close all containers after use. Containers should be in good condition and compatible with material. - Transport ethidium bromide between locations in secondary containment, such as polyethylene or other non-reactive, non-breakable bottle carrier. - Purchase and store smallest quantities and lowest concentration needed for experimentation and what can be stored safely in the laboratory. - Do not use particularly hazardous substances such as ethidium bromide if less-hazardous alternatives are possible (e.g. SYBR Safe). - Avoid using powdered ethidium bromide. Tablets or pre-made solutions are safer than powder. To minimize the potential for exposure, spills, etc. where practical, purchase ready-made stock solutions. Always purchase the smallest required amount. - Do not dispense ethidium bromide directly onto a laboratory balance in the general lab space. Instead, transfer the material into a sealable, pre-tared container inside the fume hood, then take the sealed container to the balance. Adjust the amount of material inside the container until the desired mass is reached. Make all adjustments inside the fume hood. - Containers of this material may be hazardous when empty since they retain product residues (dust, solids); observe all warnings and precautions listed for the product. - When using ultraviolet light to visualize ethidium bromide, the user must wear UV blocking eyewear or work behind UV shielding glass. - The user must demonstrate competency and familiarity regarding the safe handling and use of this material prior to purchase. Users should receive special training on the hazards and safe use of this substance. Insert additional lab specific information on ethidium bromide controls. |

- Certificate of Employee Training

The Principal Investigator must certify that they have provided training to lab personnel on the content of this SOP before work with Ethidium Bromide is performed.

| PI Name | PI Signature | Date |
| --- | --- | --- |

The following individuals attest that they have received training from the Principal Investigator on the content of this SOP.

| Name | Signature | Date |
| --- | --- | --- |