# STANDARD OPERATING PROCEDURE

## Flammable Liquids

*Delete items in red after you have added all your lab-specific information. Modify general information as needed.

| 1. LAB INFORMATION | Building: Room(s): Department: Principal Investigator Name: Examples of Flammable Liquids covered by this SOP: Acetone; Benzene; Diethyl ether. Ethyl acetate; Ethyl alcohol; Gasoline. Hexane; Isopropyl alcohol; Lacquers. Methyl alcohol; Pentane; Propyl alcohol. Solvent-based Cements; Toluene; Xylene. This SOP supports the use of flammable and combustible liquids. The National Fire Protection Association (NFPA) defines flammable liquids as liquids having a flash point below 100°F (38°C) and combustible liquids as liquids having a flash point at or above 100°F (38°C). Washington State regulations define flammable liquids as liquids having a flash point of 199.4°F (93°C) or lower. Note: Flammable and Combustible liquids are identified in the laboratory signage spreadsheet. Flash Point: The minimum temperature at which a liquid gives off vapor in sufficient concentration to form an ignitable mixture with air near the surface of the liquid. Ensure sufficient ventilation when heating flammable liquids to maintain flammable vapor concentrations below flammability limits, and do not heat flammable liquids to their autoignition temperature. |
| --- | --- |
| 2. PHYSICAL & HEALTH HAZARDS | Flammable and combustible liquids primarily pose two physical hazards: fire and explosion. They can also pose health risks and be harmful when ingested, absorbed through the skin, or when vapors are inhaled. They can cause skin irritation and eye damage, potentially leading to blindness. Ingestion can cause severe injury to the digestive tract. Inhalation can irritate and damage the respiratory tract including nose, throat and lungs. Flammable liquids may have additional hazards associated with them, such as toxicity and the ability to form explosive organic peroxides. Add or delete GHS hazard pictograms accordingly. *Always refer to the Safety Data Sheet for the most detailed information* - Note: If working with carcinogenic flammable liquids such as Benzene, reference the carcinogens SOP. Carcinogenic chemicals are identified in the laboratory signage spreadsheet. - Note: If working with peroxide forming flammable liquids such as Isopropyl ether, reference the organic peroxide SOP. - Note: If working with pyrophoric liquids such as diphosphane, triethylborane, metalorganics, tert-butyllithium, diethylzinc, or triethylaluminum, reference the pyrophorics SOP. |
| 3. TRAINER / RESOURCE PERSONNEL | Principal Investigator must guarantee all laboratory personnel receive training on the content of this SOP. Principal Investigator Name, Building, Room, Phone Number Secondary contact Name, Building, Room, Phone Number |
| - LOCATION OF HEALTH & SAFETY INFORMATION | Safety Data Sheets (SDS) for flammable liquids must be available at all times to all personnel working in the laboratory. The SDS used in this laboratory are located in Building, Room and/or Electronic Location. Labeling: Flammable liquid containers shall either have original manufacturer’s label affixed or a self-made workplace label identifying the contents and hazards of the chemical at the minimum. Chemical abbreviations and formulae should be avoided unless a legend is present in the lab. For information on workplace labels, see https://ehs.wsu.edu/ohs-chemhazardcommunication/ohs-workplacelabels/. |
| - PROTECTIVE EQUIPMENT | Wear nitrile rubber gloves, ANSI approved chemical splash goggles, and a fully buttoned lab coat at the minimum. Double gloving with nitrile gloves may be appropriate in many situations and is recommended when working with flammable liquids with a toxicity hazard through skin absorption (e.g. benzene, methanol). ANSI approved safety glasses may be appropriate for lower hazard flammable liquids or when properly working behind a fume hood’s protective sash. When working with high hazard flammable liquids with an increased risk of splash or spill exposure (e.g. transfers from a larger container), consider siphon transfer for improved control or additional PPE, such as thick-cut butyl rubber or equivalent gloves, face shield and a flame resistant lab coat. Wash hands immediately after handling flammable liquids and removing gloves. - Note: Always consult with your glove manufacturer’s glove compatibility chart to ensure selected gloves are compatible with specific chemical being used. Full length pants and close-toed shoes are required to be worn at all times. Insert lab specific information on personal protective equipment required for use. Always work with flammable liquids within a properly functioning, face velocity certified laboratory chemical fume hood. Insert lab specific information on ventilation controls and equipment used to control exposure. If flammable liquids are used outside of a chemical fume hood, respiratory protection may be required which require affected personnel to be medically cleared, fit tested and enrolled in WSU’s Respiratory Protection Program (RPP). |
| - WASTE DISPOSAL PROCEDURES | Waste Flammable Liquids must be managed as a Dangerous Waste. Flammable liquid wastes should be collected in a compatible container (e.g. a polyethylene container provided by EH&S). Specialized waste containers and/or lids may be required for comingled wastes where reactions may generate heat or pressure. Waste containers should be stored away from incompatible materials (such as oxidizing agents, acids, and bases). A completed Dangerous Waste label must be attached to dangerous waste containers before waste is added. When the container is full or no longer being used, submit an online Chemical Collection Request Form, and deliver to the Waste Accumulation Area Operator (if applicable) at Building, Room, Phone Number. Dangerous waste information and instructions can be found at the following link: https://ehs.wsu.edu/Chemical-Waste/ Do not dispose of flammable liquid wastes down the drain or through evaporation. For assistance evaluating dangerous waste collection of flammable liquids, contact EH&S https://ehs.wsu.edu/contact-information/. Insert lab specific information on flammable liquid waste collection procedures, location, storage and handling. |
| - DESIGNATED AREA INFORMATION | Flammable liquids are stored and dispensed in Building, Room. Confine all work with flammable liquids to a properly functioning certified laboratory chemical fume hood. The designated storage and use area(s) should be shown on the floor plan in your laboratory’s Chemical Hygiene Plan. Insert lab specific information on flammable liquid storage and use locations. |
| - DECONTAMINATION PROCEDURES | Upon Accidental Exposure: In case of eye contact, flush eyes with copious amounts of water at an emergency eyewash station for at least 15 minutes and seek medical attention. In case of skin contact, flush skin with copious amounts of water for 15 minutes and seek medical attention. For exposure over a large portion of the body, remove clothing and shoes and rinse thoroughly in an emergency shower for at least 15 minutes. Seek medical attention. In case of inhalation, move person to fresh air and seek medical attention. In case of ingestion, immediately seek medical attention and follow instructions on SDS. Upon Accidental Release: Large Release: If a significant amount of flammable liquid is spilled outside the fume hood, immediately evacuate, secure area, notify others in the vicinity, and call 911 if there is an immediate threat of fire or the spill is uncontained. If personnel are exposed and need medical attention, call 911. If the spill is contained, secure the area, evacuate and call EH&S at 509-335-3041. Small Release: If a small amount of flammable liquid is spilled (it can be cleaned up in 10 minutes) and you have been appropriately trained to clean it up, you may do so. Trained personnel shall wear nitrile or butyl gloves, chemical splash goggles, and a fully-buttoned lab coat. Absorb with an inert dry material and place material in an appropriate waste disposal container (resealable bag, etc.) and dispose of as dangerous waste (see Section 6: WASTE DISPOSAL PROCEDURES). Additional PPE such as respirators may be necessary depending upon material and concentration. You must be medically cleared, fit tested and enrolled in WSU’s respiratory protection program to wear a respirator. If it is necessary to use a respirator and personnel are not cleared to wear a respirator and not trained to appropriately clean up the spill, the employee should immediately evacuate, secure area, and follow the large release instructions above. Insert lab specific information on flammable liquid spill cleanup procedures and applicable location specific emergency procedures. |
| - SPECIAL STORAGE AND HANDLING PROCEDURES | - Store flammable and combustible liquid containers upright in a designated area such as a flammable storage cabinet or storage cabinet under fume hood designed for chemical storage. Storage area should be a secured, cool and well-ventilated area away from direct sunlight, heat, sparks, flame, or other sources of ignition. - No more than 10 gallons (37 liters) of flammable and combustible liquid is permitted to be stored outside of a designated flammable liquid storage area (e.g. flammable storage cabinet). - Store in tightly closed original container until ready for use. Containers should be in good condition and compatible with material. Tightly closed containers prevent accumulation of flammable and/or toxic vapor concentrations and accidental ignition. Store in safety cans with spring closing lids if possible. - Store segregated from incompatible chemicals such as oxidizers, acids, and bases (refer to Section 10 of SDS). If storage space is limited, use secondary containment such as a Nalgene/polypropylene tubs. - Avoid using ignition sources (e.g. flame burners, hot plates, electrical equipment with damaged wiring, etc.) and/or creating static electricity in areas where flammable/combustible liquids are being used. - Ground and bond containers when transferring more than 4 liters of flammable or combustible liquids. - Refrigerators or freezers used for the storage of flammable liquids (or explosive chemicals) shall be designed as “intrinsically safe” or “flammable safe”, meaning there are no internal sources of ignition (e.g. internal light, thermostat circuit, compressor motor). - Transport all flammable liquids in secondary containment, such as polyethylene or other non-reactive acid/solvent bottle carrier. - Purchase and store smallest quantities needed for experimentation and what can be stored safely in the laboratory. - Personnel must store flammable and combustible liquids in accordance with the International Fire Code (IFC). Contact EH&S with questions (509-335-3041). Consult SPPM 8.12 Flammable/Combustible Liquid Storage for more info on WSU policy of flammable and combustible liquid storage. Insert additional lab specific information on flammable liquid controls. |

- Certificate of Employee Training

The Principal Investigator must certify that they have provided training to lab personnel on the content of this SOP before work with Flammable Liquids is performed.

| PI Name | PI Signature | Date |
| --- | --- | --- |

The following individuals attest that they have received training from the Principal Investigator on the content of this SOP.

| Name | Signature | Date |
| --- | --- | --- |