# STANDARD OPERATING PROCEDURE

## Flammable Solids

*Delete items in red after you have added all your lab-specific information. Modify general information as needed.

| 1. LAB INFORMATION | Building: Room(s): Department: Principal Investigator Name: Examples of Flammable Solids covered by this SOP: Note: All alkali metals are flammable as well as water reactive. Metal and other oxidizable dusts with a diameter less than 500 µm are considered flammable by NFPA 484. Aluminum, magnesium, titanium, tantalum, niobium, and zirconium are considered particularly flammable metals. Avoid combining reactive metal pairs (e.g. Ni + Al, Al + Ti, Al + B, Ti + B, Zr + B, Ti + C without controls. Activated Charcoal Powder; Benzoyl peroxide; Camphor. Cobalt powder; 3,5-Dinitrosalicylic acid; Ferrocene. Magnesium powder; Naphthalene; Nitrocellulose. 2-Nitrophenylhydrazine; Picric acid; Potassium tert-butoxide. Sodium thiomethoxide; Triphenylborane; Zinc powder. This SOP supports the use of flammable solids. Washington State regulations define a flammable solid as a solid which is a readily combustible solid, or which may cause or contribute to fire through friction. Readily combustible solids are powdered, granular, or pasty chemicals which are dangerous if they can be easily ignited by brief contact with an ignition source, such as a burning match, and if the flame spreads rapidly. Flammable solid (and liquid) chemicals whose primary or only hazard is pyrophoric or water reactive will be covered by separate SOPs for those chemical hazard groups. |
| --- | --- |
| 2. PHYSICAL & HEALTH HAZARDS | Flammable solids’ primary hazard is that they readily ignite, burn fiercely, and can be extremely difficult to extinguish. Fires may produce irritating, corrosive, and/or toxic gases. The solids can also pose health risks and be harmful when ingested, absorbed through the skin, or are inhaled. They can cause skin irritation and eye damage, potentially leading to blindness. Ingestion can cause severe injury to the digestive tract. Inhalation can irritate and damage the respiratory tract including nose, throat and lungs. Flammable solids may have additional hazards associated with them, such as toxic, corrosive and water reactive. Add or delete GHS hazard pictograms accordingly. *Always refer to the Safety Data Sheet for the most detailed information* |
| 3. TRAINER / RESOURCE PERSONNEL | Principal Investigator must guarantee all laboratory personnel receive training on the content of this SOP. Principal Investigator Name, Building, Room, Phone Number Secondary contact Name, Building, Room, Phone Number |
| - LOCATION OF HEALTH & SAFETY INFORMATION | Safety Data Sheets (SDS) for flammable solids must be available at all times to all personnel working in the laboratory. The SDS used in this laboratory are located in Building, Room and/or Electronic Location. Labeling: Flammable solids containers shall either have original manufacturer’s label affixed or a self-made workplace label identifying the contents and hazards of the chemical at the minimum. Chemical abbreviations and formulae should be avoided unless a legend is present in the lab. For information on workplace labels, see https://ehs.wsu.edu/ohs-chemhazardcommunication/ohs-workplacelabels/. |
| - PROTECTIVE EQUIPMENT | Wear nitrile rubber gloves, ANSI approved chemical splash goggles, and a fully buttoned lab coat at the minimum. Double gloving with nitrile gloves may be appropriate in many situations and is recommended when working with flammable solids with a toxicity hazard through skin absorption (e.g. picric acid). ANSI approved safety glasses may be appropriate for lower hazard flammable solids or when properly working behind a fume hood’s protective sash. When working with high hazard flammable solids, consider using additional PPE, such as a face shield and a flame resistant lab coat. Wash hands immediately after handling flammable solids and removing gloves. - Note: Always consult with your glove manufacturer’s glove compatibility chart to ensure selected gloves are compatible with specific chemical being used. Full length pants and close-toed shoes are required to be worn at all times. Insert lab specific information on personal protective equipment required for use. Always work with flammable solids within a properly functioning, face velocity certified laboratory chemical fume hood. Insert lab specific information on ventilation controls and equipment used to control exposure. If flammable solids are used outside of a chemical fume hood, respiratory protection may be required which require affected personnel to be medically cleared, fit tested and enrolled in WSU’s Respiratory Protection Program (RPP). |
| - WASTE DISPOSAL PROCEDURES | Waste Flammable Solids must be managed as a Dangerous Waste. Flammable solid wastes should be collected in a compatible container (e.g. a polyethylene container provided by EH&S). Specialized waste containers and/or lids may be required for comingled wastes where reactions may generate heat or pressure. Waste containers should be stored away from incompatible materials (such as oxidizing agents, acids, and bases). A completed Dangerous Waste label must be attached to dangerous waste containers before waste is added. When the container is full or no longer being used, submit an online Chemical Collection Request Form, and deliver to the Waste Accumulation Area Operator (if applicable) at Building, Room, Phone Number. Dangerous waste information and instructions can be found at the following link: https://ehs.wsu.edu/Chemical-Waste/ Do not dispose of flammable solid wastes down the drain or in the regular waste stream. For assistance evaluating dangerous waste collection of flammable solids, contact EH&S https://ehs.wsu.edu/contact-information/. Insert lab specific information on flammable solid waste collection procedures, location, storage and handling. |
| - DESIGNATED AREA INFORMATION | Flammable solids are stored and dispensed in Building, Room. Confine all work with flammable solids to a properly functioning certified laboratory chemical fume hood. The designated storage and use area(s) should be shown on the floor plan in your laboratory’s Chemical Hygiene Plan. Insert lab specific information on flammable solid storage and use locations. |
| - DECONTAMINATION PROCEDURES | Upon Accidental Exposure: In case of eye contact, flush eyes with copious amounts of water at an emergency eyewash station for at least 15 minutes and seek medical attention. In case of skin contact, flush skin with copious amounts of water for 15 minutes and seek medical attention. For exposure over a large portion of the body, remove clothing and shoes and rinse thoroughly in an emergency shower for at least 15 minutes. Seek medical attention. If a flammable, water-reactive solid is spilled onto skin, brush off as much as possible, then flush with copious amounts of water and seek medical attention. In case of inhalation, move person to fresh air and seek medical attention. In case of ingestion, immediately seek medical attention and follow instructions on SDS. Upon Accidental Release: Large Release: If a significant amount of flammable solid is spilled outside the fume hood, immediately evacuate, secure area, notify others in the vicinity, and call 911 if there is an immediate threat of fire or the spill is uncontained. If personnel are exposed and need medical attention, call 911. If the spill is contained, secure the area, evacuate and call EH&S at 509-335-3041. Small Release: If a small amount of flammable solid is spilled (it can be cleaned up in 10 minutes) and you have been appropriately trained to clean it up, you may do so. Trained personnel shall wear nitrile gloves, chemical splash goggles, and a fully-buttoned lab coat. Sweep up carefully with spark-resistant tools and avoid generating dust. Place material in an appropriate waste disposal container (resealable bag, etc.) and dispose of as dangerous waste (see Section 6: WASTE DISPOSAL PROCEDURES). Additional PPE such as respirators may be necessary depending upon material and concentration. You must be medically cleared, fit tested and enrolled in WSU’s respiratory protection program to wear a respirator. If it is necessary to use a respirator and personnel are not cleared to wear a respirator and not trained to appropriately clean up the spill, the employee should immediately evacuate, secure area, and follow the large release instructions above. Insert lab specific information on flammable solid spill cleanup procedures and applicable location specific emergency procedures. |
| - SPECIAL STORAGE AND HANDLING PROCEDURES | - Store flammable solid containers upright in a designated area such as a flammable storage cabinet or storage cabinet under fume hood designed for chemical storage. Storage area should be a secured, cool and well-ventilated area away from direct sunlight, heat, sparks, flame, or other sources of ignition. - Store in tightly closed original container until ready for use. Containers should be in good condition and compatible with material. - Store segregated from incompatible chemicals such as oxidizers, acids, and bases (refer to Section 10 of SDS). If storage space is limited, use secondary containment such as a Nalgene/polypropylene tubs. - Avoid using ignition sources (e.g. flame burners, hot plates, electrical equipment with damaged wiring, etc.) in areas where flammable solids are being used. - Identify and eliminate sources of static electricity discharge in areas where flammable solids are being used. Clothing, plastic use, and the transfer of materials between containers are all sources of static electricity. The potential for static electricity increases in low humidity environments (e.g. dry rooms). - Purchase and store smallest quantities needed for experimentation and what can be stored safely in the laboratory. - Purchase the most stable chemical that will work for your intended use. - For metals, purchase the largest mesh size that will work for your intended use. Do not order powders if granules will work. - Do not attempt to crush or grind a flammable solid. Similarly, keep the threads of containers clean. - Keep work area clean and orderly when working with flammable solids. Put away unnecessary chemicals and other materials when working with flammable solids. Flammable solids that ignite can easily consume other materials around it. - Ensure a Class D fire extinguisher is available where flammable solids are used or stored. For metallic flammable solids, do not use water, foam, or carbon dioxide as a fire suppressant. - Sand can be used to smother a fire involving flammable solids. Keep a container of sand near the work area. - Personnel must store flammable solids in accordance with the International Fire Code (IFC). Contact EH&S with questions (509-335-3041). Insert additional lab specific information on flammable solid controls. |

- Certificate of Employee Training

The Principal Investigator must certify that they have provided training to lab personnel on the content of this SOP before work with Flammable Solids is performed.

| PI Name | PI Signature | Date |
| --- | --- | --- |

The following individuals attest that they have received training from the Principal Investigator on the content of this SOP.

| Name | Signature | Date |
| --- | --- | --- |