# STANDARD OPERATING PROCEDURE

## Halogenated Solvents

*Delete items in red after you have added all your lab-specific information. Modify general information as needed.

| 1. LAB INFORMATION | Building: Room(s): Department: Principal Investigator Name: Examples of Halogenated Solvents covered by this SOP: Bromoform; Carbon tetrachloride; Chlorobenzene. Chloroform; Chloromethane; 1,1-Dichloroethane. 1,1-Dichloroethene; Halomethane; Hexachlorobutadiene. Methylene chloride; Methyl iodide; Perfluorocyclohexane. Perfluorotoluene; Tetrachloroethylene; Trichloroethylene. This SOP supports the use of halogenated solvents, organic solvents containing chlorine, bromine, fluorine, or iodine. Chlorinated solvents are used to dissolve other organic materials such as fats and oils, they can behave as Lewis acids, serve as reagents for organic synthesis and used as refrigerants. |
| --- | --- |
| 2. PHYSICAL & HEALTH HAZARDS | Halogenated solvents are widely used because many are essentially non-flammable, and do not present a fire risk. However, when combustion does occur in an atmosphere containing halogenated solvent vapors, the vapors may decompose and react with the air to form highly toxic gases. Many halogenated solvent vapors are heavier than air and rapidly replace oxygen in an enclosed, poorly ventilated area. Halogenated solvents can pose health risks and are harmful when ingested, absorbed through the skin, or when vapors are inhaled. They can cause skin irritation/burns and mild to severe eye damage. Ingestion may cause severe injury to the digestive tract and lung damage if vomited after swallowing. Inhalation can irritate and damage the respiratory tract including nose, throat and lungs. Some halogenated solvents are carcinogenic and cause damage to the central nervous system and organs such as kidneys, liver, and lungs. Halogenated solvents may have additional hazards associated with them, such as flammable, toxic, and the ability to form explosive organic peroxides (e.g. chlorofluoroethylene). Add or delete GHS hazard pictograms accordingly. *Always refer to the Safety Data Sheet for the most detailed information* - Note: If working with carcinogenic halogenated solvents such as Dichloromethane (Methylene chloride), reference the carcinogens SOP. |
| 3. TRAINER / RESOURCE PERSONNEL | Principal Investigator must guarantee all laboratory personnel receive training on the content of this SOP. Principal Investigator Name, Building, Room, Phone Number Secondary contact Name, Building, Room, Phone Number |
| - LOCATION OF HEALTH & SAFETY INFORMATION | Safety Data Sheets (SDS) for halogenated solvents must be available at all times to all personnel working in the laboratory. The SDS used in this laboratory are located in Building, Room and/or Electronic Location. Labeling: Halogenated solvent containers shall either have original manufacturer’s label affixed or a self-made workplace label identifying the contents and hazards of the chemical at the minimum. Chemical abbreviations and formulae should be avoided unless a legend is present in the lab. For information on workplace labels, see https://ehs.wsu.edu/ohs-chemhazardcommunication/ohs-workplacelabels/. |
| - PROTECTIVE EQUIPMENT | Wear nitrile rubber gloves, ANSI approved chemical splash goggles, and a fully buttoned lab coat at the minimum. Double gloving with nitrile gloves may be appropriate in many situations as nitrile gloves have a poor compatibility rating against many halogenated solvents (e.g. methylene chloride). ANSI approved safety glasses may be appropriate for lower hazard halogenated solvents or when properly working behind a fume hood’s protective sash. When working with high hazard halogenated solvents with an increased risk of splash or spill exposure (e.g. transfers from a larger container), consider siphon transfer for improved control or additional PPE, such as Viton, thick-cut nitrile or equivalent gloves, face shield and a chemical-resistant apron. Wash hands immediately after handling halogenated solvents and removing gloves. - Note: Always consult with your glove manufacturer’s glove compatibility chart to ensure selected gloves are compatible with specific chemical being used. Full length pants and close-toed shoes are required to be worn at all times. Insert lab specific information on personal protective equipment required for use. Always work with halogenated solvents within a properly functioning, face velocity certified laboratory chemical fume hood. Insert lab specific information on ventilation controls and equipment used to control exposure. If halogenated solvents are used outside of a chemical fume hood, respiratory protection may be required which require affected personnel to be medically cleared, fit tested and enrolled in WSU’s Respiratory Protection Program (RPP). |
| - WASTE DISPOSAL PROCEDURES | Waste Halogenated Solvents must be managed as a Dangerous Waste. Halogenated solvent wastes should be collected in a compatible container (e.g. a polyethylene container provided by EH&S). Specialized waste containers and/or lids may be required for comingled wastes where reactions may generate heat or pressure. Waste containers should be stored away from incompatible materials (such as acids, bases, metals, and oxidizing agents). A completed Dangerous Waste label must be attached to dangerous waste containers before waste is added. When the container is full or no longer being used, submit an online Chemical Collection Request Form, and deliver to the Waste Accumulation Area Operator (if applicable) at Building, Room, Phone Number. Dangerous waste information and instructions can be found at the following link: https://ehs.wsu.edu/Chemical-Waste/ Do not dispose of halogenated solvent wastes down the drain or through evaporation. For assistance evaluating dangerous waste collection of halogenated solvents, contact EH&S https://ehs.wsu.edu/contact-information/. Insert lab specific information on halogenated solvent waste collection procedures, location, storage and handling. |
| - DESIGNATED AREA INFORMATION | Halogenated solvents are stored and dispensed in Building, Room. Confine all work with halogenated solvents to a properly functioning certified laboratory chemical fume hood. The designated storage and use area(s) should be shown on the floor plan in your laboratory’s Chemical Hygiene Plan. Designated Areas: Many halogenated solvents are select carcinogens. For use of carcinogens, a designated area shall be established where limited access, special procedures, knowledge, and work skills are required. A designated area can be the entire laboratory, a specific laboratory workbench, or a laboratory hood. Designated areas must be clearly marked with signs that identify the chemical hazard and include an appropriate warning; for example: WARNING! METHYLENE CHLORIDE WORK AREA – CARCINOGEN. - Upon leaving the designated area, remove any personal protective equipment worn and wash hands with soap and water. - After each use (or day), wipe down the immediate work area and equipment to prevent accumulation of chemical residue. - At the end of each project, thoroughly decontaminate the designated area before resuming normal laboratory work in the area. Insert lab specific information on halogenated solvent storage and use locations. |
| - DECONTAMINATION PROCEDURES | Upon Accidental Exposure: In case of eye contact, flush eyes with copious amounts of water at an emergency eyewash station for at least 15 minutes and seek medical attention. In case of skin contact, flush skin with copious amounts of water for 15 minutes and seek medical attention. For exposure over a large portion of the body, remove clothing and shoes and rinse thoroughly in an emergency shower for at least 15 minutes. Seek medical attention. In case of inhalation, move person to fresh air and seek medical attention. In case of ingestion, immediately seek medical attention and follow instructions on SDS. Upon Accidental Release: Large Release: If a significant amount of halogenated solvent is spilled outside the fume hood, immediately evacuate, secure area, notify others in the vicinity, and call 911 if there is an immediate threat of fire or the spill is uncontained. If personnel are exposed and need medical attention, call 911. If the spill is contained, secure the area, evacuate and call EH&S at 509-335-3041. Small Release: If a small amount of halogenated solvent is spilled (it can be cleaned up in 10 minutes) and you have been appropriately trained to clean it up, you may do so. Trained personnel shall wear double nitrile or Viton gloves, chemical splash goggles, and a fully-buttoned lab coat. Absorb with an inert dry material and place material in an appropriate waste disposal container (resealable bag, etc.) and dispose of as dangerous waste (see Section 6: WASTE DISPOSAL PROCEDURES). Additional PPE such as respirators may be necessary depending upon material and concentration. You must be medically cleared, fit tested and enrolled in WSU’s respiratory protection program to wear a respirator. If it is necessary to use a respirator and personnel are not cleared to wear a respirator and not trained to appropriately clean up the spill, the employee should immediately evacuate, secure area, and follow the large release instructions above. Insert lab specific information on halogenated solvent spill cleanup procedures and applicable location specific emergency procedures. |
| - SPECIAL STORAGE AND HANDLING PROCEDURES | - Store halogenated solvent containers upright in a designated area such as a flammable storage cabinet or storage cabinet under fume hood designed for chemical storage. Storage area should be a secured, cool and well-ventilated area away from direct sunlight, heat, sparks, flame, or other sources of ignition. - All areas where carcinogenic halogenated solvents are stored or manipulated must be labeled as a designated area (see Section 7: DESIGNATED AREA INFORMATION). - Do not use carcinogenic chemicals if less-hazardous alternatives are possible. - No more than 10 gallons (37 liters) of flammable and combustible halogenated solvent is permitted to be stored outside of a designated flammable liquid storage area (e.g. flammable storage cabinet). - Store in tightly closed original container until ready for use. Containers should be in good condition and compatible with material. Tightly closed containers prevent accumulation of flammable and/or toxic vapor concentrations. - The use of metal safety cans for accumulating halogenated solvents is not recommended because halogenated solvents can dissociate to produce acids, which in turn corrode metal. - Store segregated from incompatible chemicals such as acids, bases, metals and oxidizing agents (refer to Section 10 of SDS). If storage space is limited, use secondary containment such as a Nalgene/polypropylene tubs. - Avoid using ignition sources (e.g. flame burners, hot plates, electrical equipment with damaged wiring, etc.) around halogenated solvents as acutely toxic gases can be generated when halogenated solvents come into contact with open flames and hot surfaces. - Refrigerators or freezers used for the storage of flammable or combustible halogenated solvents (or explosive chemicals) shall be designed as “intrinsically safe” or “flammable safe”, meaning there are no internal sources of ignition (e.g. internal light, thermostat circuit). - Transport all halogenated solvents in secondary containment, such as polyethylene or other non-reactive acid/solvent bottle carrier. - Purchase and store smallest quantities needed for experimentation and what can be stored safely in the laboratory. - Personnel must store flammable and combustible liquids (including flammable halogenated solvents) in accordance with the International Fire Code (IFC). Contact EH&S with questions (509-335-3041). Consult SPPM 8.12 Flammable/Combustible Liquid Storage for more info on WSU policy of flammable and combustible liquid storage. Insert additional lab specific information on halogenated solvent controls. |

- Certificate of Employee Training

The Principal Investigator must certify that they have provided training to lab personnel on the content of this SOP before work with Halogenated Solvents is performed.

| PI Name | PI Signature | Date |
| --- | --- | --- |

The following individuals attest that they have received training from the Principal Investigator on the content of this SOP.

| Name | Signature | Date |
| --- | --- | --- |