# STANDARD OPERATING PROCEDURE

## Water Reactive Chemicals

*Delete items in red after you have added all your lab-specific information. Modify general information as needed.

| 1. LAB INFORMATION | Building: Room(s): Department: Principal Investigator Name: Examples of Water Reactive Chemicals covered by this SOP: Acetic anhydride; Alkali metal amides; Aluminum alkyls. Anhydrous metal halides; Chlorosilanes; Grignard reagents. Inorganic acid halides; Alkali metal hydrides; Lithium metal. Low molecular weight anhydrides; Nonmetal halides; Organic acid halides. Potassium metal; Sodium azide; Sodium metal. This SOP supports the use of water reactive chemicals, a class of chemicals, when in contact with water, may emit gases that are either flammable or toxic. Many water reactive chemicals are strong reducing agents. |
| --- | --- |
| 2. PHYSICAL & HEALTH HAZARDS | Water reactive chemicals may react violently with water, aqueous solutions, or atmospheric moisture to produce flammable or toxic gas and heat. Released flammable gas (e.g. hydrogen, methane) may form explosive mixtures with air. These mixtures may be ignited through the heat of reaction or other ignition sources, resulting in a fire or explosion which may injure people and destroy property. These chemicals can also pose additional health risks and be harmful when they are ingested, absorbed through the skin, or are inhaled. They can cause skin irritation and eye damage, potentially leading to blindness. Ingestion can cause severe injury to the digestive tract. Inhalation can irritate and damage the respiratory tract including nose, throat and lungs. Water reactive chemicals may have additional hazards associated with them, such as toxic and corrosive. Add or delete GHS hazard pictograms accordingly. *Always refer to the Safety Data Sheet for the most detailed information* Washington State regulations refer to water reactive chemicals as “Chemicals which, in contact with water, emit flammable gases” and define them as solid or liquid chemicals which, by interaction with water, are liable to become spontaneously flammable or to give off flammable gases in dangerous quantities. Chemicals with this hazard will have the GHS pictogram for flammability on their label and safety data sheet and will include one of three hazard statements, depending on the severity of the hazard. Hazard Statement; Hazard Category; Signal Word. In contact with water releases flammable gases which may ignite spontaneously; Category 1; Danger. In contact with water releases flammable gas; Category 2; Danger. In contact with water releases flammable gas; Category 3; Warning. Some materials also react with water to produce gases which are toxic at low airborne concentrations. For example, sodium or potassium phosphide release phosphine gas when they contact water. Alkali metal cyanide salts, such as sodium or potassium cyanide, slowly release deadly hydrogen cyanide gas on contact with water. The cyanide salts of alkaline earth metals such as calcium or barium cyanide react at a faster rate with water to produce hydrogen cyanide gas. This can result in a life-threatening problem in confined spaces or poorly ventilated areas. Large amounts of corrosive hydrogen chloride gas are rapidly released when water reacts with aluminum chloride, phosphorous trichloride, tin chloride and chlorosilane compounds. When water contacts thionyl chloride or sulphuryl chloride, they decompose rapidly giving off hydrogen chloride gas and sulfur dioxide gas respectively. - Water reactive chemicals whose primary or only hazard is pyrophoric or flammable solid will be covered by separate SOPs for those chemical hazard groups. |
| 3. TRAINER / RESOURCE PERSONNEL | Principal Investigator must guarantee all laboratory personnel receive training on the content of this SOP. Principal Investigator Name, Building, Room, Phone Number Secondary contact Name, Building, Room, Phone Number |
| - LOCATION OF HEALTH & SAFETY INFORMATION | Safety Data Sheets (SDS) for water reactive chemicals must be available at all times to all personnel working in the laboratory. The SDS used in this laboratory are located in Building, Room and/or Electronic Location. Labeling: Water reactive chemicals containers shall either have original manufacturer’s label affixed or a self-made workplace label identifying the contents and hazards of the chemical at the minimum. Chemical abbreviations and formulae should be avoided unless a legend is present in the lab. For information on workplace labels, see https://ehs.wsu.edu/ohs-chemhazardcommunication/ohs-workplacelabels/. |
| - PROTECTIVE EQUIPMENT | Wear nitrile or neoprene rubber gloves, ANSI approved chemical splash goggles, and a fully buttoned flame resistant lab coat at the minimum. Double gloving may be appropriate in many situations and is recommended when working with water reactive chemicals with a toxicity hazard through skin absorption (e.g. sodium azide). ANSI approved safety glasses may be appropriate for lower hazard water reactive chemicals or when properly working in a glove box, behind a fume hood’s protective sash or protective blast shield. When working in higher hazard situations with water reactive chemicals (beyond minor splash hazard situations), consider using additional PPE, such as a face shield and thicker cut chemical protective gloves. Fire-resistant gloves (e.g. Nomex) may be appropriate to supplement chemical-resistant gloves. Wash hands immediately after handling water reactive chemicals and removing gloves. - Note: Always consult with your glove manufacturer’s glove compatibility chart to ensure selected gloves are compatible with specific chemical being used. Full length pants and close-toed shoes are required to be worn at all times. Insert lab specific information on personal protective equipment required for use. Always work with water reactive chemicals within a properly functioning, face velocity certified laboratory chemical fume hood or dry-atmosphere glove box. A blast shield is required when there is risk of explosion, splash hazard or highly exothermic reaction. Blast shielding provides additional protection in case of a violent reaction. Insert lab specific information on ventilation controls and equipment used to control exposure. If water reactive chemicals are used outside of a chemical fume hood or glove box, respiratory protection may be required which require affected personnel to be medically cleared, fit tested and enrolled in WSU’s Respiratory Protection Program (RPP). |
| - WASTE DISPOSAL PROCEDURES | Waste Water Reactive Chemicals must be managed as a Dangerous Waste. Water reactive wastes should be collected in a compatible container (e.g. a polyethylene container provided by EH&S). Specialized waste containers and/or lids may be required for comingled wastes where reactions may generate heat or pressure. Waste containers should be stored away from incompatible materials (such as aqueous solutions, flammable liquids, oxidizing agents, acids, and bases). A completed Dangerous Waste label must be attached to dangerous waste containers before waste is added. When the container is full or no longer being used, submit an online Chemical Collection Request Form, and deliver to the Waste Accumulation Area Operator (if applicable) at Building, Room, Phone Number. Dangerous waste information and instructions can be found at the following link: https://ehs.wsu.edu/Chemical-Waste/ Do not dispose of water reactive chemical wastes down the drain or in the regular waste stream. For assistance evaluating dangerous waste collection of water reactive chemicals, contact EH&S https://ehs.wsu.edu/contact-information/. Insert lab specific information on water reactive chemical waste collection procedures, location, storage and handling. |
| - DESIGNATED AREA INFORMATION | Water reactive chemicals are stored and dispensed in Building, Room. Confine all work with water reactive chemicals to a properly functioning certified laboratory chemical fume hood or dry-atmosphere glove box. The designated storage and use area(s) should be shown on the floor plan in your laboratory’s Chemical Hygiene Plan. Insert lab specific information on water reactive chemical storage and use locations. |
| - DECONTAMINATION PROCEDURES | Upon Accidental Exposure: In case of eye contact, flush eyes with copious amounts of water at an emergency eyewash station for at least 15 minutes and seek medical attention. In case of skin contact, flush skin with copious amounts of water for 15 minutes and seek medical attention. For exposure over a large portion of the body, remove clothing and shoes and rinse thoroughly in an emergency shower for at least 15 minutes. Seek medical attention. If a flammable, water-reactive solid is spilled onto skin, brush off as much as possible, then flush with copious amounts of water and seek medical attention. In case of inhalation, move person to fresh air and seek medical attention. In case of ingestion, immediately seek medical attention and follow instructions on SDS. Upon Accidental Release: Large Release: If a significant amount of water reactive chemical is spilled outside the fume hood, immediately evacuate, secure area, notify others in the vicinity, and call 911 if there is an immediate threat of fire or the spill is uncontained. If personnel are exposed and need medical attention, call 911. If the spill is contained, secure the area, evacuate and call EH&S at 509-335-3041. Small Release: If a small amount of water reactive chemical is spilled (it can be cleaned up in 10 minutes) and you have been appropriately trained to clean it up, you may do so. Trained personnel shall wear nitrile gloves, chemical splash goggles, and a fully-buttoned flame-resistant lab coat. If material is liquid, absorb with an inert material. If material is solid, sweep up carefully with spark-resistant tools and avoid generating dust. Do NOT use water to clean up spilled material. Place material in an appropriate waste disposal container (resealable bag, etc.) and dispose of as dangerous waste (see Section 6: WASTE DISPOSAL PROCEDURES). Additional PPE such as respirators may be necessary depending upon material and concentration. You must be medically cleared, fit tested and enrolled in WSU’s respiratory protection program to wear a respirator. If it is necessary to use a respirator and personnel are not cleared to wear a respirator and not trained to appropriately clean up the spill, the employee should immediately evacuate, secure area, and follow the large release instructions above. Insert lab specific information on water reactive chemical spill cleanup procedures and applicable location specific emergency procedures. |
| - SPECIAL STORAGE AND HANDLING PROCEDURES | - Store water reactive chemical containers upright in a designated area designed for chemical storage. Storage of these materials inside a dessicator or glove box is advisable. Storage area should be a secured, dry, cool and well-ventilated area away from moisture/humidity, direct sunlight, heat, sparks, flame, or other sources of ignition. - Store in tightly closed original container until ready for use. Containers should be in good condition and compatible with material. Always reapply lid to container when not actively handling/dispensing chemical. - Store water reactive chemicals away from aqueous (water-containing) solutions, or near other sources of water such as sinks, water baths, or recirculating chillers. Do not leave containers near sources of water (e.g. sinks, emergency eyewashes) even momentarily. - Store segregated from incompatible chemicals such as water and aqueous solutions, flammable liquids and materials, oxidizers, acids, and bases (refer to Section 10 of SDS). If storage space is limited, use secondary containment such as a Nalgene/polypropylene tubs. - Avoid using ignition sources (e.g. flame burners, hot plates, electrical equipment with damaged wiring, etc.) in areas where water reactive chemicals are being used. - Identify and eliminate sources of static electricity discharge in areas where water reactive chemicals are being used. Clothing, plastic use, and the transfer of materials between containers are all sources of static electricity. The potential for static electricity increases in low humidity environments (e.g. dry rooms). - Purchase and store the smallest quantities and lowest concentrations needed for experimentation and what can be stored safely in the laboratory. - Purchase the least hazardous chemical that will work for your intended use. - Dispose of expired water reactive chemicals appropriately. Dating chemical containers upon receipt and opening is good practice. - For metals, purchase the largest mesh size that will work for your intended use. Do not order powders if granules will work. - Do not work alone when handling water reactive chemicals. Inform other lab occupants when working with water reactive chemicals. - Keep work area clean and orderly when working with water reactive chemicals. Put away unnecessary chemicals and other materials when working with water reactive chemicals. Water reactive chemicals that ignite can easily consume other materials around it. - Ensure a Class D fire extinguisher is available where water reactive chemicals are used or stored. For metallic water reactive chemicals, do not use water, foam, or carbon dioxide as a fire suppressant. - Sand can be used to smother a fire involving water reactive chemicals. Keep a container of sand near the work area. - Personnel must store water reactive chemicals in accordance with the International Fire Code (IFC). Contact EH&S with questions (509-335-3041). Insert additional lab specific information on water reactive chemical controls. |

- Certificate of Employee Training

The Principal Investigator must certify that they have provided training to lab personnel on the content of this SOP before work with Water Reactive Chemicals is performed.

| PI Name | PI Signature | Date |
| --- | --- | --- |

The following individuals attest that they have received training from the Principal Investigator on the content of this SOP.

| Name | Signature | Date |
| --- | --- | --- |